3110 SLATER STREET, STUART, FLORIDA   34997

www.gkaluminum.com      gkalum1@bellsouth.net

(772) 283-1297      FAX: (772) 220-0306

G&K CONTACT:      JOHN RASTRELLI                       CELL # 772.285.2194

SECTION 05720 ALUMINUM HANDRAILS AND RAILINGS: SAMPLE SPECIFICATION

1.00 	GENERAL

1.01 	RELATED DOCUMENTS

A.	 Architectural Drawings, Site Plans, Landscape Drawings

and/or Interior Design Drawings.

1.02 	Summary

A.	This section includes furnishing and installing all Aluminum

Handrails and Guardrails as indicated on drawings and

includes Miscellaneous Aluminum Handrails and Guardrails

not included in other sections of these specifications, such

as Aluminum Pipe Railing Systems, Ornamental Railing

Systems, Glass Railing Systems.

1.03	System performance requirements

A.	General:  In engineering handrail and railing systems to

withstand structural loads indicated determine allowable

design working stresses of railing materials based on the

following:

1.	For Aluminum: The Aluminum Association's

specification for Aluminum Structures

B.	Structural Performance of Handrails and Railing Systems:

Engineer, fabricate, and install handrails and railing systems to

withstand the following structural loads without exceeding the

allowable design working stress of the materials for handrails,

railing systems, anchors, and connections.  Apply each load to

produce the maximum stress in each of the respective

components comprising handrails and railing systems.

1.	Top Rail of Guardrail Systems:  Capable of withstanding

the following loads applied as indicated:

a.	Concentrated load of 200 lb applied at any point and in

any direction.

- Uniform load of 50 lb per linear ft.

- applied horizontally and concurrently with uniform load of 100 lb per linear ft. applied vertically downward.

c.	Concentrated load need not be assumed to act

concurrently with uniform loads.

2.	Handrails Not Serving as Top Rails:  Capable of

withstanding the following loads applied as indicated:

a.	Concentrated load of 200  lb applied at any point

and in any direction.

b.    Uniform load of 50 lb per linear ft. applied in

any direction

c.    Concentrated and uniform loads need not be assumed

to concurrently.

3. 	Infill Area of Guardrail Systems:  Capable of withstanding a

horizontal concentrated load of 200 lb applied to one

sq. ft. at any point in the system.

a. Above load need not be assumed to act concurrently

with loads on top rails of railing systems in determining

stress on guardrail.

C.	Control of Corrosion:  Prevent galvanic action and other forms

of corrosion by insulating metals and other materials from direct

contact with incompatible materials.

D.	Thermal Movements:  Allow for thermal movement resulting

from the following maximum change (range) in ambient

temperature in the design, fabrication, and installation of

handrails and railings to prevent buckling, opening up of joints,

overstressing of components, connections and other detrimental

effects.  Base design calculation on actual surface temperatures

of materials due to both solar heat gain and nighttime sky

heat loss.

1.	Temperature Change (Range):  100 deg F ambient;

150 deg F material surfaces.

1.04	SUBMITTALS

A.	Product Data for each type of product specified.

B.	Shop drawings showing Welding, Fabrication and Installation of

handrails including all plans, typical elevations, sections, details

of components, and attachment to other units of work.

1. 	Where installed products are indicated to comply with

certain design loadings, include structural computations,

material properties and other information needed for

structural analysis review by the design architect and/or

engineer of record.

2. 	Submit 6 prints of all shop drawing product data.  Also

submit calculations if specifically requested by architect.

C. 	Samples for initial selection purposes in the form of

manufacturers color chart showing full range of colors available

from factories standards:  Or for custom color request minimum

2" x 2" color chip from customer for color matching purposes.

Then submit at least 2 chips of color match for approval by

architect or owner.

D.	Submit at least 2 - 6"  long samples of the top rail when its

shape is other than standard rounds, squares or rectangles and

when specifically requested by architect.

1.05	Quality assurance

A. 	Single Source Responsibility:  Obtain handrails and railing

systems from a single fabricator/manufacturer.

B.	Engineering Responsibility:  Engineer hand railing and railing

systems by the fabricator/manufacturer unless sizes and

configurations are specifically called out on arch./engr. drawings.

1.06	Storage

A.	Store handrails and railing systems in clean, dry location, away

from uncured concrete and masonry, protected against damage.

1.07	Project conditions

A.	Field Measurements:  Where handrails and railings are indicated

to fit to other construction, check actual dimensions of other

construction by accurate field measurements before fabrication;

show recorded measurements on final shop drawings.

Coordinate fabrication schedule with construction progress to

avoid delay of Work.

1.	Where field measurements cannot be made without

delaying the Work, obtain guaranteed dimensions in writing

and proceed with fabrication of products without field

measurements if specifically requested to do so by architect,

owner or contractor.

2.00 	Products

2.01	Manufacturers/fabricators

A.	Acceptable Manufacturers:  Products specified as a standard of

quality are fabricated by

G&K ALUMINUM INC.

3110 S.E. SLATER STREET

STUART, FL  34997

TEL:  772-283.1297    FAX:  772-220.0306

Website:   www.gkaluminum.com

Email: gkalum1@bellsouth.net

2.02	Metals

A.	Aluminum:  Alloy and temper recommended by aluminum

producer and finisher for type of use and finish indicated, with

not less than the strength and durability properties of the alloy

and temper designated below for each aluminum form required:

1.	Structural extrusions such as posts shall be 6061-T6 or

6005-T5 Alloy/Temper.

2.	All other extrusions such as Caps, Pickets, Mid and Bottom

Rails shall be at least 6063-T5.

3.	Castings:  To be high quality prime material or materials

remelted from prime extrusion

2.03	Grout and anchoring cement

A.	Nonshrink, Nonmetallic Grout:  Premixed, factory-packaged,

nonstaining, no corrosive, nongaseous grout complying with

CE CRD-C 621. Provide grout specifically recommended by

manufacturer for interior and exterior applications of type

specified in this Section.

B.	Erosion-Resistant Anchoring Cement:  Factory-prepackaged,

no shrink, nonstaining, high strength cement formulation

for mixing with water at Project site to create pour able

anchoring, patching, and grouting compound.  Provide

formulation that is resistant to erosion from water exposure or

provide a sealer or waterproof coating recommended for exterior

use by manufacturer to be applied by the installer or other

qualified contractor or subcontractor.

2.04  WELDING MATERIALS, FASTENERS, AND ANCHORS

A. 	Welding Electrodes and Filler/Metal:  Provide type and alloy of

filler metal and electrodes as recommended by producer of

metal to be welded and as required for color match, strength,

and compatibility in fabricated items.

B. 	Fasteners for Anchoring Railings to Other Construction:  Select

fasteners of the type, grade, and class required to produce

connections that are suitable for anchoring railing to other types

of construction indicated and capable of withstanding

design loadings.

1. 	For aluminum railings in coastal environments provide

fasteners fabricated from stainless steel or aluminum only.

C. 	Fasteners for Interconnecting Railing Components:  Use

fasteners of same basic metal as the fastened metal, unless

otherwise indicated.  Do not use metals that are corrosive or

incompatible with materials joined.

2.05 Fabrication

A. 	General:  Fabricate handrails and railing systems to comply

with requirements indicated for design, dimensions, details,

finish, and member sizes, including wall thickness of hollow

members, post spacing, and anchorage, but not less than

those required to support structural loads.

B. 	Preassemble railing systems in shop to greatest extent possible

to minimize field splicing and assembly.  Disassemble units

only as necessary for shipping and handling limitations.  Clearly

mark units for field assembly and coordinated installation.  Use

connections that maintain structural value of joined pieces.

C. 	Assembly shall be in a neat workmanlike manner using M.I.G.

or T.I.G. Welding Processes as required.  Horizontal Channels

shall be punched to receive pickets and welds in this applicant-

ton shall be concealed from view.

1. 	Channels to receive a snap cover only when specifically

required and noted on drawings.

2. 	All Posts shall be structurally welded to Top Rail and Mid

and Lower Horizontal Members to assure fixed fastening

for the life of the rail.

3. 	Corners shall be hairline fitted by miter and further welded

as required to obtain maximum assurance of strength

through the railing's useful life.

4. 	All splices shall be accomplished by butting one Top Rail to

the next with a structural sleeve insert extending from one

Top Rail to the next and further secured by means of a

Stainless Steel, Aluminum or other proper screw or pop-rivet.

Note:  Butt splices to be either hairline fitted or properly gapped

to provide for proper expansion and contraction movement.  For

expansion joints be sure that only one side of the sleeve insert

is fastened to the top rail.

5. 	End connections required to fasten to the building structure

require either a welded end clip or a separate slide clip.

6. 	Provide weep holes when necessary to drain closed

sections from pretreatment immersion and sprays also for

moisture from condensation to escape.

2.06 Aluminum finishes

A.	 All aluminum railings to receive a baked-on painted finish over

full pretreatment except when specified to be natural or mill

finish or when anodizing is specified. Note:  Anodizing is not

recommended for welded railings due to the likelihood of

discoloration from:  1. Dissimilar alloys  2. Dissimilar tempers

3. Oxidation  4. Welding Filler Metals  5. Weld heat zones

6. Marring caused during fabrication and handling

B. 	Pretreatment Process:  A multi-stage pretreatment process is

required prior to shop painting.

1. 	The railing shall be dipped or sprayed in a concentrated

alkaline cleaner then rinsed in clear water.  This process

provides cleaning, degreasing and deep etching on the

surface.

2. 	The product shall then be dipped or sprayed in a

concentrated acidic treatment to deoxidize, demit and

neutralize the surface then rinsed in clear water.

3. 	The product shall then be dipped or sprayed in an acidic

conversion coating to act as a bonding coating for paint

adhesion.

4. 	The product must be completely dried before painting.

C. 	Painting -(choose one)

1. 	E.S.P. applied thermosetting T.G.I.C. polyester powder

paint over pretreatment bond coating.

Paint to be 1.5 to 2.0    mills. D.F.T. Paint shall

be baked on at approx. 400° F for a minimum of 10 minutes duration.

Paint to be similar to H.B. Fuller, Co., polyester T.G.I.C. or Tiger Dryad Series 49.

Note: Powder coat available in G&K ALUMINUM Standard colors & mfgrs.

standard colors only. Color matches will be done with high solid polyester

liquid paint similar to P.P.G. Polycron III. Meets A.A.M.A. 603.85

Specification.

2. 	E.S.P. applied thermosetting powder paint over pretreatment bond

coating. TWO COAT SYSTEM with paint to a total minimum 3.5 mills. D.F.T.

Paint shall be baked on at approx. 400° F for a minimum of 10 minutes

duration. Paint to be similar to TIGER DRYLAC SERIES 28. Note: This system available only in mfgrs. standard colors. This system meets or exceeds the performance requirements of A.A.M.A. 605.2-92 specification.

3. 	E.S.P. applied thermosetting KYNAR 500 Fluoropolymer

Resin Coating with inhibitive flash primer over conversion

coating.  Paint shall be baked to at least 450° F.  Paint to

be similar to PPG DURANAR.  Meets or exceeds A.A.M.A.

603.85 specification.

3.00 Execution

3.01 Preparation

A. 	Coordinate setting drawings, diagrams, templates, instructions,

and directions for installation of anchorages, such as sleeves,

concrete inserts, anchor bolts, and miscellaneous items having

integral anchors, that are to be embedded in concrete as

masonry construction.  Coordinate delivery of such items to

project site.

3.02 Installation general

A.	Fit exposed connections accurately together to form tight,

hairline joints, except as required for expansion.

B. 	Cutting, Fitting, and Placement:  Perform cutting, drilling, and

fitting required for installation of handrails and railings.  Set

handrails and railings accurately in location, alignment, and

elevation, measured from established lines and levels and free

from rack.

1. 	Set posts plumb within a tolerance of 1/16" to 12".

2. 	Align rails so that variations from level for horizontal

members and from parallel with rake of steps and ramps for

sloping members do not exceed 1/32" in 12".

C.	Corrosion Protection:  Coat concealed surfaces of aluminum

that will come into contact with grout, concrete, masonry, wood,

or dissimilar metals with a heavy coat of paint or epoxy.

D. 	Fastening to In-Place Construction:  Provide anchorage devices

and fasteners where necessary for securing handrails and

railings to in-place construction.

3.03 Anchoring posts

A.	Anchor post in concrete by means of preset sleeves into

concrete.  After posts have been inserted into sleeves, fill

space between post and sleeve solid with the following anchoring

material, mixed and placed to comply with anchoring material

manufacturer's directions.

B. 	Anchor posts in concrete by core drilling holes not less that 3"

deep and 1" greater than outside diameter of post.  Clean

holes of all loose material, insert posts, and fill space between

post and concrete with the following anchoring material, mixed

and placed to comply with anchoring material manufacturer's

directions.

1. 	Nonshrink, nonmetallic grout.

2.	Nonshrink, nonmetallic grout or anchoring cement.

C. 	Leave anchoring material down approximately 1/2" to allow for

final topping with a waterproof material matching the

surrounding areas by others.  Whenever possible fill hole with

waterproof topping slightly higher than the adjacent surfaces

and taper and taperaway from the post.

3.04  Cleaning, protection and touch-up painting

A. 	On delivery all railing will have protective cover over cap only.

Immediately upon completion of installation of railing installer

shall remove cap cover and clean all work for inspection and

approval.

B. 	After installation the General Contractor or Owner shall be

responsible for protecting the railings during the balance of

construction.

C. 	Painted aluminum surfaces shall be cleaned with plain water

containing a mild soap or detergent.  No abrasive agents or

harsh chemicals are to be used.

Note:  All railings require periodic maintenance.  All railing surfaces

require periodic washing especially those subject to ocean salt air

or harmful chemical environments.  Waxing after washing is

recommended. If requirements are not met all warranty from manufacture

Is void.

END OF SECTION